## Pricing
Equipment list
Equipment and Components Required
Part | Manufacturer | Description | Cost | Per | Quantity | Total
Cat 6a UTP Plenum Cable | Monoprice | Cat6A 500ft Blue CMP UL Bulk Cable, UTP | 240.89 | each | 2 | 481.78
Wall Jacks | Networx | CAT6A SpeedTerm™ Keystone Jack 90 Degree | 3.13 | each | 14 | 43.82
Wall Plates | ICC Networking | ICC Flat Keystone Wall Plate-Single Gang-2 Port | 2.85 | each | 7 | 19.95
2 ft Patch Cable Cat 6a | Cable Leader | 2ft Slim Cat6a 28AWG UTP Ethernet Network Patch Cable, Blue | 1.8 | each | 17 | 30.6
6 ft Patch Cable Cat 6a | Cable Leader | 6ft Cat6a 600 MHz UTP Snagless Ethernet Network Patch Cable, Blue | 2.37 | each | 14 | 33.18
J-hooks |  | ICC J-Hooks in 25 Pack | 25.99 | each | 5 | 129.95
Patch Panel | Tasharina Corp | 16 Ports Cat6A Rackmount Unsheilded RJ45 Ethernet | 47.49 | each | 1 | 47.49
Rack | Networx | 6U Wall Mount Cabinet - 101 Series, 18 Inches Deep, Flat Packed | 139.47 | each | 1 | 139.47
Power Strip | APC | APC Essential Surgearrest PE66 - surge protector | 16.99 | each | 1 | 16.99
Router/Firewall/WAP etc | Linksys | WRT3200ACM Linksys Wireless Router 4-Ports Switch Gige 802.11a/b/g/n/ac Dual Band | 267.83 | each | 1 | 267.83
WAP | Cisco | Cisco Business 140AC - WAP - Wi-Fi 5 | 100.99 | each | 1 | 100.99
Switch - 1Gig/200Mb | Cisco | Cisco Business CBS220-16T-2G 16p Ge 2x1g Sfp Smart Switch | 295 | each | 1 | 295
UPS | APC | APC Back-UPS ES 550 - UPS - 330 Watt - 550 VA | 111.99 | each | 1 | 111.99
Wire Ties | JEWOSTER | 50 PCS Reusable Fastening Cable Ties, 8 Inch Premium Adjustable Cord Ties | 4.98 | each | 1 | 4.98
Wire Control | Networx | 1U Cable Management Duct | 12.34 | each | 1 | 12.34
|  |  |  | Pck |  | 0
[5 empty] | Sub total parts | 1736.36
|  |  |  | State Tax | 0.0825 | 143.2497
[5 empty] | Total Parts | 1879.6097
Labor
Application | Description |  | Cost | Per | Quantity | Total
Cable Installation | Pull cable from rack to drops, install wall jacks and plates, punch down on rack, and test |  | 100 | Pull | 15 | 1500
each cable run.
Rack installation | Install and test the rack and all of the equipment in the rack. |  | 150 | hour | 4 | 600
[5 empty] | Total Labor | 2100
Total Cost |  |  |  |  | Total Proposal | 3979.6097
Recurring Expence
Service | Vendor/
Name | Manufacturer | Description | Cost | Unit | Quantity | Total
Vyve Gig | Vyve | Vyve provides speeds of up to 1Gbps in Stephenville | 79.99 | Month | 12 | 959.88
Router | N/A | The router is not provided by the ISP. | 0 | Month | 12 | 0
959.88

## Timeline
Timeline | [5 empty] | On Site
6/23/2023 through 7/11/2023
2023-06-23
Preliminary walk-through | 2023-06-15
Hardware Cost Received |  | 2023-06-16
Order Parts
Cat 6a wire |  |  | 2023-06-23 |  | 2023-06-27
Patch Panel |  |  | 2023-06-23 |  | 2023-06-27
Rack |  |  | 2023-06-23 |  | 2023-06-27
Wall Plates |  |  | 2023-06-23 |  | 2023-06-27
Wall Jacks |  |  | 2023-06-23 |  | 2023-06-27
J Hooks |  |  | 2023-06-23 |  | 2023-06-27
cat 6a patch Cable(2ft) |  |  | 2023-06-23 |  | 2023-06-27
cat 6a patch Cable(6ft) |  |  | 2023-06-23 |  | 2023-06-27
Parts Delivered | [5 empty] | 2023-06-30
Wire Installation
Pull wire | [6 empty] | 2023-07-01 | 2023-07-02
Terminate Boxes | [7 empty] | 2023-07-02 | 2023-07-03
Order Parts
Switch |  |  |  | 2023-06-24 |  |  | 2023-07-01
UPS |  |  |  | 2023-06-24 |  |  | 2023-07-01
Power Bar |  |  |  | 2023-06-24 |  |  | 2023-07-01
Parts Delivered | [7 empty] | 2023-07-02
Rack Installation
Mounting Rack | [8 empty] | 2023-07-03 | 2023-07-04
Add Patch Panel to Rack | [8 empty] | 2023-07-03 | 2023-07-04
Punch Down Rack | [8 empty] | 2023-07-03 | 2023-07-04
Add Rack Components | [9 empty] | 2023-07-04
Testing | [10 empty] | 2023-07-07
Walk Through | [11 empty] | 2023-07-08
PunchList Start | [12 empty] | 2023-07-09
Final Walkthrough | [13 empty] | 2023-07-10
Complete | [14 empty] | 2023-07-11